## Slide 1: CCNC and SMPS data analysis
Data from 2019/09/18-20
Ivo Beck

## Slide 2: SizeDistribution Image of SMPS: A lot of Pollution and sometimes almost no particles…

## Slide 3: SMPS data without pollution (left) vs data with pollution (right)

## Slide 4: SMPS total concentration vs. CCNC SS1 total concentration
Chart: Time
SMPS concentrations are much higher (note that the scale on the y axis is logarithmic).

## Slide 5
CCNC number concentrations for each SS. From this data we pick the values for one certain SS (eg. 1%) and plot all concentrations for this SS.

## Slide 6
SMPS: The DiamMidpt table shows the diameter of each measured diameter.

## Slide 7: The Counts table shows the counts (concentrations, dNdlogDp) for each diameter (columns) for each time (rows). So column 1 shows the counts for 14.07nm for each measurement

## Slide 8: Intercomparison CPC, CCNC (1%SS) and SMPS (full spectrum)

## Slide 9: Intercomparison CPC, CCNC (1%SS) and SMPS (full spectrum), ZOOM

## Slide 11: SMPS/CPC comparison July 2019
2019/07/29 – 2019/07/31

## Slide 12: Load SMPS data into SMPS Toolkit 1520.ptx
First message: Edit procedure, than close window (quit)
Load mode: all
File type: daily matrix
Load SMPS scans (type in path to data)
Button: calc size dist
  dNlogDp multiple charge correction
  Check “correct sps eff.”
  64bins
Red arrow to SMPS
Graphs: diagnosis  get overview
Graphs: size dist  should get the distribution window

## Slide 13: I get this error message: